TECHNICAL SERVICE BULLETIN

TSB 42705

April 27, 2005

## THORGUARDIAN OPERATIONAL LED

### In   conjunction   with   the  THOR GUARD  manufactured  timer,  a new feature  of  the THORGUARDIAN   will    be   the  ability  to  provide  you when your   system  is   active   and  when there may be  required maintenance. The “Operational LED”    will   illuminate    during    the   specific   times   which  you  have determined  your  THORGUARDIAN  to  provide lightning notification and sound the horns.

### The   “Operational  LED”     will    be    off  when (1), the conditions exists

### that the THORGUARDIAN  is  unable to pass the sensor test (2), when the L25 computer    located    within   the THORGUARDIAN  enclosure  is not providing lightning warning. Immediate   action    must   be   initiated   to   determine the possible  causes  and  remedied.

### Whenever the Operational LED is off, lightning prediction is suspended.